ANNEX 3

Cleaning tasks

# 1	Cleaning of inside areas (in line with Annex 4)

# 1.1	Furniture and fittings

1.1.1	General cleaning of furniture and fittings (see frequency in annex 5)

The following tasks are included under general cleaning of furniture and fittings:

- Emptying and cleaning as required of waste containers and waste-paper baskets and replacement of plastic bags

- Wiping of desk tops and other accessible desks and table tops

- Wiping of and around door handles to remove stains, etc.

- Removal of stains on internal glazing in doors and walls, including entrance areas, inside and out

- Removal of cobwebs (regularly)

- Cleaning of hand basins and related fittings, mirrors, shelves, tiles, etc.

- Cleaning of other sanitary ware, including toilet cubicles and urinals

- Filling / replenishment of hand-towel container, toilet paper, toilet-seat paper and soap

# 1.1.2	Thorough cleaning of furniture and fittings (see frequency in annex 5)

The following tasks are included under thorough cleaning of furniture and fittings:

- Dusting / wiping of window frames and low-hanging lamps

- Dusting / wiping of edges of pictures and notice boards

- Dusting / wiping of clear shelving, bookcases, cupboards and fire-extinguishing equipment

- Dusting / wiping of banister railings

- Dusting top of computer screens

- Dusting / wiping of skirting boards

- Dusting / wiping of chairs, including frame and all other parts

- Vacuum-cleaning of upholstered furniture

- Wiping / washing of door surfaces

- Dusting of other moveable and fixed furniture and fittings

# 1.1.3	Periodic cleaning

The following tasks are included under periodic cleaning (once per month)

- Wiping of tops of radiators

- Descaling of sanitary areas (bathroom)

- Dusting / wiping of lamps, fittings and ventilation grilles (180 – 300 cm.)

# 1.2	Floor cleaning

    - General floor cleaning (see frequency in annex 5)

The following tasks are included under general floor cleaning

- Hard floors: vacuum-cleaning/ dry mopping and removal of stains (visible dirt to be removed)

- Carpeted floors: vacuum-cleaning in walkways and visible areas

- Wooden floors: vacuum-cleaning/ dry mopping and removal of stains (visible dirt to be removed)

- Mats at entrances: to be cleaned

# 1.2.2	Thorough floor cleaning (see frequency in annex 5)

The following tasks are included under thorough floor cleaning

- Hard flooring: vacuum-cleaning / dry mopping and thorough floor washing, including soaking and treating

Description of method

- Vacuum-clean or dry-mop the entire floor to remove loose dirt

- Dip the flat mop into the cleaning water (clean water with appropriate detergent) and distribute across the entire floor / alternatively distribute clean cleaning water over floor surface using measuring cups

- Treat the entire floor surface as required to remove surface dirt and marks, etc.

- Use a flat mop to wipe up the cleaning water, now dirty, from the entire floor surface

There are thus four different cleaning procedures associated with thorough floor washing.

- Carpeted flooring: wall-to-wall vacuum cleaning

- Wooden flooring: as stated under “hard flooring”, but with minimum amount of water on the surface of the floor

- Entrance mats: to be cleaned

# 1.3	Specific inside tasks

The following tasks are to be carried out according to indicated intervals:

- Replacement of paper bags on green sack trucks for recycled paper / cardboard – as required

- Emptying of recycled paper /card board into separate containers in the yard – daily

- Clearance of crockery used from meeting rooms (to be placed on trolley) – as required

- Manual washing up in kitchenettes (including plates, cutlery, glassware, coffee cups, etc.) for approx. 200 staff and guests (5 to 10), distributed among 14 kitchenettes – daily

- Descaling 14 coffee machines – monthly

- Descaling of 14 kettles – monthly

- Emptying of office bins (for recycled paper and other waste) with plastic bags, only when bags are full or smelling

- Removal of stains from carpeted areas – as required

- Treatment of stains on linoleum flooring, so that the floors always have a silk-matt finish – regularly

- Emptying and cleaning of fridges, discarding of out-of-date food– 1 x per month

- Washing of vertical surfaces in kitchenettes (cupboard doors, etc.) to remove coffee spillages, etc. as required

- Washing of inside of waste bins in kitchenettes – as required

1.4	Internal stairways

- Internal stairways to be cleaned at different times of the year as follows:

Summer (1 April – 30 September)

  - Basement to floor 1 (programme 5 2 2)

  - Floor 1 to floor 4 (programme 5 1 1)

Winter (1 October – 31 March)

  - Basement to floor 1 (programme 5 5 2)

  - Floor 1 to floor  4 (programme 5 2 2)

See explanation of programme in Annex 4

The lift is to be cleaned according to programme code 5 5 5 all year.

# 2.	Window cleaning

# Frequency of window cleaning

Notification of window cleaning must be given at least 8 days beforehand.

Bars in window frames, (basement and main entrance), must be wiped as required at window cleaning.

| Window cleaning | Frequency |
| --- | --- |
| 4th floor – outside | 4 x annually |
| 3rd floor – outside | 4 x annually |
| 2nd floor – outside | 6 x annually |
| 1st floor – outside | 6 x annually |
| Ground floor – outside | 12 x annually |
| Basement – outside | 12 x annually |
| 4th floor – inside | 4 x annually |
| 3rd floor – inside | 4 x annually |
| 2nd floor – inside | 4 x annually |
| 1st floor – inside | 4 x annually |
| Ground floor – inside | 4 x annually |
| Basement – inside | 4 x annually |
| Kongens Nytorv 28, 1. and 2. floor, inside and outside | 4 x annually |

# 3.	Cleaning of outside areas

# Daily cleaning

- Steps to be inspected and swept as required (there must be no litter, cigarette butts, etc., left lying around)

- Steps to entrance B and C and outside paths at basement level to be inspected and swept as required (there must be no litter, cigarette butts, etc., left lying around)

# Monthly cleaning

- Washing of wrought-iron gate

- Washing of glass sections

- Washing of sections at vehicle entrance

- All card readers to be wiped

No snow clearance is to be carried out.

# 4.	Instructions for thorough cleaning (once per year)

| Floors: | Carpeted floors to be vacuum cleaned thoroughly wall-to-wall |
| --- | --- |
|  | Stains to be removed from carpeted floors |
|  | Hard floors to be washed thoroughly wall-to-wall |
|  | Oiling of wooden floors |
| Panels: | Thorough washing |
| Window frames: | Thorough washing |
| Walls: | Spots and marks to be removed (water-soluble) |
| Ceilings: | Sweeping. Cobwebs to be removed |
| Doors and frames: | Thorough washing |
| Radiators/pipes (free-standing): | Thorough washing |
| Light fittings/lamps: | Outer surfaces to be dusted/cleaned |
| Furniture and fittings: | Desks and other tables to be cleaned thoroughly |
|  | Bookcases and shelves to be cleaned thoroughly when cleared |
|  | Chairs and other upholstered furniture to be vacuum-cleaned/cleaned |
| Toilets and bathrooms: | All sanitary installations to be descaled/cleaned thoroughly. |
|  | Toilets to be disinfected |
|  | Mirrors to be polished |
|  | Walls to be descaled/washed down thoroughly |
|  | Floors to be washed thoroughly |
| Kitchenettes: | Kitchen tables and sinks to be cleaned thoroughly |
|  | Free shelves and surfaces to be cleaned |
|  | Insides of refrigerators to be cleaned if emptied (to be agreed) |
|  | Cupboards to be emptied and the insides cleaned and contents replaced correctly |
| Venetian blinds: | Dusted thoroughly |
| Computer equipment/ Telephones: | Cleaning of computer equipment/telephones - about 200 sets, including screens, keyboards and cabinets |
| Ventilation: | Cleaning of caps in the ceiling |

# 5	Instructions for thorough cleaning of canteen kitchen (twice per year)

| Floors: | Thorough machinery washing |
| --- | --- |
|  | Removal of calcareous surfaces |
| Panels and switches: | Thorough washing |
| Window frames: | Thorough washing |
| Walls: | Foam washing of tiled walls, with approved products for areas of food industry |
|  | Other walls are thoroughly washed |
| Ceilings: | Sweeping/dust cleaning (removal of cobwebs). Cleaning of external parts of ventilation terminals |
| Cooker/stove/oven: | Thorough washing, external |
| Refrigerators | Thorough washing, external |
| Doors and frames: | Thorough washing |
| Radiators/pipes (free-standing): | Thorough washing |
| Light fittings/ lamps | Outer surfaces to be dusted/cleaned |
| Furniture and fittings: | Desks and other tables to be cleaned thoroughly |
|  | Bookcases and shelves to be cleaned thoroughly when cleared |
|  | Chairs and other upholstered furniture to be vacuum-cleaned/cleaned |
| Toilets and bathrooms: | All sanitary installations to be descaled/cleaned thoroughly |
|  | Toilets to be disinfected |

It is the responsibility of the European Environment Agency to make accessible the kitchen facilities and prepare for the main cleaning.

One set of drawings of the EEA premises will be provided as handouts during the tour of the building